## RIGOL
MSO8204 | 2 GHz, 10 GSa/s, 500 Mpts, 4+16 CH MSO
MSO8104 | 1 GHz, 10 GSa/s, 500 Mpts, 4+16 CH MSO
MSO8064 | 600 MHz, 10 GSa/s, 500 Mpts, 4+16 CH MSO
MSO7054 | 500MHz BW,4Channel,10GSa/s ,16 Digital Logic Channel
DS7054 | 500MHz BW,4Channel,10GSa/s
MSO7034 | 350MHz BW,4Channel,10GSa/s ,16 Digital Logic Channel
DS7034 | 350MHz BW,4Channel,10GSa/s
MSO7024 | 200MHz BW,4Channel,10GSa/s ,16 Digital Logic Channel
DS7024 | 200MHz BW,4Channel,10GSa/s
MSO7014 | 100MHz BW,4Channel,10GSa/s ,16 Digital Logic Channel
DS7014 | 100MHz BW,4Channel,10GSa/s
DS6104 | 1GHz, 4CH, 5GSa/s
MSO5354 | 350MHz BW,4Channel,8GSa/s
MSO5204 | 200MHz BW,4Channel,8GSa/s
MSO5104 | 100MHz BW,4Channel,8GSa/s
MSO5102 | 100MHz BW,2Channel,8GSa/s
MSO5074 | 70MHz BW,4Channel,8GSa/s
MSO5072 | 70MHz BW,2Channel,8GSa/s
MSO5152-E | 150 MHz, 4 GSa/s, 100 Mpts, 2+16 CH MSO
MSO4054 | 500MHz, 4CH, 4GSa/s, 16CH LA
MSO4052 | 500MHz, 2CH, 4GSa/s, 16CH LA
MSO4034 | 350MHz, 4CH, 4GSa/s, 16CH LA
MSO4032 | 350MHz, 2CH, 4GSa/s, 16CH LA
MSO4024 | 200MHz, 4CH, 4GSa/s, 16CH LA
MSO4022 | 200MHz, 2CH, 4GSa/s, 16CH LA
MSO4014 | 100MHz, 4CH, 4GSa/s, 16CH LA
MSO4012 | 100MHz, 2CH, 4GSa/s, 16CH LA
MSO2302A-S | 300MHz, 2CH, 2GSa/s, 16CH LA, 2CH 25MHz AFG
MSO2202A-S | 200MHz, 2CH, 2GSa/s, 16CH LA, 2CH 25MHz AFG
MSO2102A-S | 100MHz, 2CH, 2GSa/s, 16CH LA, 2CH 25MHz AFG
MSO2302A | 300MHz, 2CH, 2GSa/s, 16CH LA
MSO2202A | 200MHz, 2CH, 2GSa/s, 16CH LA
MSO2102A | 100MHz, 2CH, 2GSa/s, 16CH LA
DS2302A | 300MHz, 2CH, 2GSa/s
DS2202A | 200MHz, 2CH, 2GSa/s
DS2102A | 100MHz, 2CH, 2GSa/s
DS1104Z-S Plus | 100MHz, 4CH, 1GSa/s, 2CH 25MHz AFG,MSO ready
DS1074Z-S Plus | 70MHz, 4CH, 1GSa/s, 2CH 25MHz AFG,MSO ready
DS1104Z Plus | 100MHz, 4CH, 1GSa/s,MSO ready
DS1074Z Plus | 70MHz, 4CH, 1GSa/s,MSO ready
DS1054Z | 50MHz, 1GSa/s, 4CH DSO
DS1102E | 100MHz, 2CH, 1GSa/s
DS1052E | 50MHz, 2CH, 1GSa/s
DS1202Z-E | 200 MHz, 1 GSa/s, 24 Mpts, 2 Ch + 1 EXT
DS1102Z-E | 100MHz,1GSa/s,24Mpts,2Ch+1EXT
DG5352 | 350MHz, 2CH, 1GSa/s, 14bits, 128Mpts Arbitrary Memory Depth
DG5351 | 350MHz, 1CH, 1GSa/s, 14bits, 128Mpts Arbitrary Memory Depth
DG5252 | 250MHz, 2CH, 1GSa/s, 14bits, 128Mpts Arbitrary Memory Depth
DG5251 | 250MHz, 1CH, 1GSa/s, 14bits, 128Mpts Arbitrary Memory Depth
DG5102 | 100MHz, 2CH, 1GSa/s, 14bits, 128Mpts Arbitrary Memory Depth
DG5101 | 100MHz, 1CH, 1GSa/s, 14bits, 128Mpts Arbitrary Memory Depth
DG5072 | 70MHz, 2CH, 1GSa/s, 14bits, 128Mpts Arbitrary Memory Depth
DG5071 | 70MHz, 1CH, 1GSa/s, 14bits, 128Mpts Arbitrary Memory Depth
DG4202 | 200MHz, 2CH, 500MSa/s, 14bits, 7digits/s Frequency Counter
DG4162 | 160MHz, 2CH, 500MSa/s, 14bits, 7digits/s Frequency Counter
DG4102 | 100MHz, 2CH, 500MSa/s, 14bits, 7digits/s Frequency Counter
DG4062 | 60MHz, 2CH, 500MSa/s, 14bits, 7digits/s Frequency Counter
DG2102 | 100 MHz, 2 Ch
DG2072 | 70 MHz, 2 Ch
DG2052 | 50 MHz, 2 Ch
DG1062Z | 60MHz, 2CH, 200MSa/s, 14bits, 8Mpts Arbitrary Memory Depth, 7digits/s Frequency Counter
DG1032Z | 30MHz, 2CH, 200MSa/s, 14bits, 8Mpts Arbitrary Memory Depth, 7digits/s Frequency Counter
DG1022Z | 25MHz, 2CH, 200MSa/s, 14bits, 2Mpts Arbitrary Memory Depth, 7digits/s Frequency Counter
DG1022A | Function/Arbitrary Waveform Generator
DG1022 | 20MHz, 2CH, 100MSa/s, 14bits
DG992 | 100MHz 2 channel,250MSa/s sample rates,16bit resolution,16Mpt memory depth,7digits/s counter
DG972 | 70MHz 2 channel,250MSa/s sample rates,16bit resolution,16Mpt memory depth,7digits/s counter
DG952 | 50MHz 2 channel,250MSa/s sample rates,16bit resolution,16Mpt memory depth,7digits/s counter
DG832 | 35MHz 2 channel,125MSa/s sample rates,16bit resolution,2Mpt memory depth,7digits/s counter
DG831 | 35MHz 1 channel,125MSa/s sample rates,16bit resolution,2Mpt memory depth,7digits/s counter
DG822 | 25MHz 2 channel,125MSa/s sample rates,16bit resolution,2Mpt memory depth,7digits/s counter
DG821 | 25MHz 1 channel,125MSa/s sample rates,16bit resolution,2Mpt memory depth,7digits/s counter
DG812 | 10MHz 2 channel,125MSa/s sample rates,16bit resolution,2Mpt memory depth,7digits/s counter
DG811 | 10MHz 1 channel,125MSa/s sample rates,16bit resolution,2Mpt memory depth,7digits/s counter
DSA875-TG | 9kHz-7.5GHz, -98dBc/Hz Phase Noise, 10Hz RBW, Tracking Generator
DSA875 | 9kHz-7.5GHz, -98dBc/Hz Phase Noise, 10Hz RBW
DSA832-TG | 9kHz-3.2GHz, -98dBc/Hz Phase Noise, 10Hz RBW, Tracking Generator
DSA832 | 9kHz-3.2GHz, -98dBc/Hz Phase Noise, 10Hz RBW
DSA815-TG | 9kHz-1.5GHz, -80dBc/Hz Phase Noise, 100Hz RBW, Preamplifier, Tracking Generator
DSA815 | 9kHz-1.5GHz, -80dBc/Hz Phase Noise, 100Hz RBW, Preamplifier
DSA832E-TG | Frequency range: 9kHz - 3.2GHz.，with TG
DSA832E | Frequency range: 9kHz - 3.2GHz.
DSA710 | Frequency range: 100kHz - 1GHz.
DSA705 | Frequency range: 100kHz - 500MHz.
RSA3045N | 9kHz-4.5GHz,SSB-102dBc/Hz,RBW 1Hz, with VNA Model
RSA3045-TG | 9kHz-4.5GHz,SSB-102dBc/Hz,RBW 10Hz
RSA3030N | 9kHz-3GHz,SSB-102dBc/Hz,RBW 1Hz, with VNA Model
RSA3045 | 9kHz-4.5GHz,SSB -102dBc/Hz,RBW 10Hz
RSA3030-TG | 9kHz-3.0GHz,SSB-102dBc/Hz,RBW 10Hz
RSA3030 | 9kHz-3.0GHz,SSB-102dBc/Hz,RBW 10Hz
RSA3015N | 9kHz-1.5GHz,SSB-102dBc/Hz,RBW 1Hz, with VNA Model
RSA3030E-TG | 9kHz-3GHz,SSB-102dBc/Hz,RBW 1Hz, with TG
RSA3030E | 9kHz-3GHz,SSB-102dBc/Hz,RBW 1Hz
RSA3015E-TG | 9kHz-1.5GHz,SSB-102dBc/Hz,RBW 1Hz, with TG
RSA3015E | 9kHz-1.5GHz,SSB-102dBc/Hz,RBW 1Hz
RSA5065N | 9kHz-6.5GHz,SSB-108dBc/Hz,RBW 1Hz, with VNA Model
RSA5065-TG | 9kHz-6.5GHz,SSB-108dBc/Hz,RBW 1Hz
RSA5032N | 9kHz-3.2GHz,SSB-108dBc/Hz,RBW 1Hz, with VNA Model
RSA5065 | 9kHz-6.5GHz,SSB-108dBc/Hz,RBW 1Hz
RSA5032-TG | 9kHz-3.2GHz,SSB-108dBc/Hz,RBW 1Hz
RSA5032 | 9kHz-3.2GHz,SSB-108dBc/Hz,RBW 1Hz
DSG3060-IQ | 9kHz-6GHz,-110dBc/Hz Phase Noise,+13dBm to -130dBm, Amplitude Accuracy&lt;0.5dB, 0.5ppm
DSG3136B-IQ | 9kHz~13.6GHz RF Signal generator，With IQ modulation
DSG3136B | 9kHz~13.6GHz RF Signal generator
DSG3065B-IQ | 9kHz~6.5GHz RF Signal generator，With IQ modulation
DSG3065B | 9kHz~6.5GHz RF Signal generator
DSG836A | 3.6 GHz RF signal generator With IQ modulation
DSG821A | 2.1 GHz RF signal generator With IQ modulation
DSG836 | 3.6 GHz RF signal generator
DSG830 | 9kHz-3GHz,-100dBc/Hz Phase Noise,+13dBm to -110dBm, Amplitude Accuracy&lt;0.5dB, 2ppm
DSG821 | 2.1 GHz RF signal generator
DSG815 | 9kHz-1.5GHz,-100dBc/Hz Phase Noise,+13dBm to -110dBm, Amplitude Accuracy&lt;0.5dB, 2ppm
DM3068 | 6 1/2 Digital Multimeter(2,200,000 Count), 0.0035% DC Voltage Accuracy, 10krdgs/s, USB, GPIB, RS232, LAN
DM3058 | 5 1/2 Digital Multimeter(240,000 Count), 0.015% DC Voltage Accuracy, 123rdgs/s, USB, RS232, GPIB, LAN
DM3058E | 5 1/2 Digital Multimeter(240,000 Count), 0.015% DC Voltage Accuracy, 123rdgs/s, USB, RS232
M302 | Mainframe(including 6.5 DMM and MUX20)
M301 | Mainframe(including 6.5 DMM)
M300 | Mainframe
DP711 | 30V/5A, 150W, Single Channel Output
DP712 | 50V/3A, 150W, Single Channel Output
DP811A | 200W, 1CH(20V/10A or 40V/5A),1mV/0.5mA resolution. Ripple<350uV
DP821A | 140W, 2CH(8V/10A ¦¦ 60V/1A), CH1: 10mV/0.1mA, CH2: 1mV/1mA resolution. Ripple<350uV
DP832A | 195W, 3CH(30V/3A ¦¦ 30V/3A,5V/3A),1mV/1mA resolution. Ripple<350uV
DP831A | 165W, 3CH(8V/5A ¦¦ 30V/2A,-30V/2A),1mV/1mA resolution. Ripple<350uV
DP811 | 200W, 1CH(20V/10A or 40V/5A),10mV/10mA resolution. Ripple&lt;350uV
DP821 | 140W, 2CH(60V/1A ¦¦ 8V/10A), CH1: 10mV/1mA, CH2: 10mV/10mA resolution. Ripple&lt;350uV
DP831 | 160W, 3CH(8V/5A ¦¦ 30V/2A,-30V/2A),CH1:1mV/1mA, CH2/3:10mV/10mA resolution. Ripple&lt;350uV
DP832 | 195W, 3CH(30V/3A ¦¦ 30V/3A,5V/3A),10mV/10mA resolution. Ripple<350uV
DL3031A | 150V/60A, 350W
DL3031 | 150V/60A, 350W
DL3021A | 150V/40A, 200W
DL3021 | 150V/40A, 200W
ADP0150BNC | 50Ohm Impedance Adapter(2W, 1GHz)
AT-DS1000Z | Advanced Trigger Option
AT-DS2000 | Advanced Trigger Option
BAG-DS1000 | Soft Carring Bag
BND-MSO/DS1000Z | MSO/DS1000Z选件套装
BND-MSO/DS2000A | MSO/DS2000A options bind,including MEM_DS2000 AT-DS2000 SD-DS2000 CAN-DS2000
BND-MSO/DS4000 | MSO/DS4000 options bind,including SD-RS232-DS4000 SD-I2C/SPI-DS4000 SD-CAN-DS4000 SD-FlexRay-DS4000
BW2T3-MSO/DS4000 | Bandwidth update option for MSO/DS402X to 350MHz bandwidth
BW2T5-MSO/DS4000 | Bandwidth update option for MSO/DS402X to 500MHz bandwidth
BW3T5-MSO/DS4000 | Bandwidth update option for MSO/DS403X to 500MHz bandwidth
CAN-DS2000A | CAN Analysis Kit
CK-DS6000 | DS6000 Calibration Kit
DK-DS6000 | DS6000 Demo Board
DS7000-2RL | 250Mpts Deep Memory Option
DS7000-5RL | 500Mpts Deep Memory Option
DS7000-AERO | MIL-STD 1553 Serial Triggering and Analysis
DS7000-AUDIO | Audio Serial Triggering and Analysis(I2S)
DS7000-AUTO | Automotive Serial Triggering and Analysis(CAN/LIN)
DS7000-BND | Application Bundle Options，including all the serial protocol analysis software, measurement application option
DS7000-BW1T2 | 100MHz to 200MHz Bandwidth Upgrade Option
DS7000-BW1T3 | 100MHz to 350MHz Bandwidth Upgrade Option
DS7000-BW1T5 | 100MHz to 500MHz Bandwidth Upgrade Option
DS7000-BW2T3 | 200MHz to 350MHz Bandwidth Upgrade Option
DS7000-BW2T5 | 200MHz to 500MHz Bandwidth Upgrade Option
DS7000-BW3T5 | 350MHz to 500MHz Bandwidth Upgrade Option
DS7000-COMP | Computer Serial Triggering and Analysis(RS232/UART)
DS7000-EMBD | Embedded Serial Triggering and Analysis(IIC, SPI)
DS7000-FLEX | Automotive Serial Triggering and Analysis(FlexRay)
DS7000-FPC | MSO/DS7000 Front Panel Cover
DS7000-PWR | Integrated Power Analysis
FC1868 | LA Data Cable
FPCS-DS4000 | Front Panel Cover
FPCS-DS6000 | Front Panel Cover
LA Module | LA Module
MEM-DS1000Z | Deep Memory Depth Option
MEM-DS2000 | 56Mpts Memory Depth Option
MSO5000-2RL | 200 Mpts memory depth option
MSO5000-4CH | 2CH update to 4CH
MSO5000-AERO | MIL-STD 1553 Serial Triggering and Analysis
MSO5000-AUDIO | Audio Serial Triggering and Analysis(I2S)
MSO5000-AUTO | Automotive Serial Triggering and Analysis(CAN/LIN)
MSO5000-AWG | Dual Channel WaveGen 25 MHz AWG
MSO5000-BND | Application Bundle Options，including all the serial protocol analysis software, measurement application option
MSO5000-BW0T1 | BW 70MHz up to 100MHz
MSO5000-BW0T2 | BW 70MHz up to 200MHz
MSO5000-BW0T3 | BW 70MHz up to 350MHz
MSO5000-BW1T2 | BW 100MHz up to 200MHz
MSO5000-BW1T3 | BW 100MHz up to 350MHz
MSO5000-BW2T3 | BW 200MHz up to 350MHz
MSO5000-COMP | Computer Serial Triggering and Analysis(RS232/UART)
MSO5000-E-1RL | 100Mpts Deep Memory Option
MSO5000-E-AWG | 25 MHz Arbitrary Waveform Generator
MSO5000-E-BND | Application Bundle Options
MSO5000-E-FPC | Front Panel Cover
MSO5000-EMBD | Embedded Serial Triggering and Analysis(IIC, SPI)
MSO5000-FLEX | FlexRay serial bus trigger and analysis (FlexRay)
MSO5000-FPC | Front Panel Cover
MSO5000-PWR | Integrated Power Analysis
MSO5000-RM | Rack Mounting Kit
MSO7000-AWG | Dual Channel WaveGen 25 MHz AWG
MSO8000-AERO | MIL-STD 1553 Option
MSO8000-AUDIO | I2S Analysis Option
MSO8000-AUTO | CAN/LIN Option
MSO8000-AWG | AWG Option
MSO8000-BND | Application Bundle Options
MSO8000-BW10T20 | Bandwidth Upgrade From 1 GHz to 2 GHz
MSO8000-BW6T10 | Bandwidth Upgrade From 600 MHz to 1 GHz
MSO8000-BW6T20 | Bandwidth Upgrade From 600 MHz to 2 GHz
MSO8000-COMP | RS232/UART Analysis
MSO8000-EMBD | I2C/SPI Analysis Option
MSO8000-FLEX | FlexRay Option
MSO8000-FPC | MSO8000 Front Panel Cover
MSO8000-JITTER | Eye diagram and jitter
MSO8000-PWR | Power Analysis
PCA1030 | Current Probe: 50MHz, 30A
PCA1150 | Current Probe: 10MHz, 150A
PCA2030 | Current Probe: 100MHz, 30A
PHA0150 | High Voltage Differential Probe, DC-70 MHz, 1500 Vpp
PHA1150 | High Voltage Differential Probe, DC-100 MHz, 1500 Vpp
PLA2216 | 16 Channel Digital Logic Probe
PVA7250 | 2.5 GHz Differential Active Probe
PVP2150 | 150MHz,10:1/1:1,Passive High Impedance Probe(One Probe Kit)
PVP2350 | 350MHz,10:1/1:1,Passive High Impedance Probe(One Probe Kit)
PVP3150 | 150MHz, 10:1/1:1, Passive High Impedance Probe (One Probe Kit)
REC-DS1000Z | Waveform Record Option
RM-DG4000/DS1000Z | Rack Mount Kit
RM-DS1000B | Rack Mount Kit
RM-DS2000 | Rack Mount Kit
RM-DS4000 | Rack Mount Kit
RM-DS6000 | Rack Mount Kit
RP1000P | 4CH Power Supply for Current Probe
RP1001C | 300kHz, 100A DC
RP1002C | 1MHz, 70A DC
RP1003C | 50MHz, 30A
RP1004C | 100MHz, 30A
RP1005C | 10MHz, 150A
RP1006C | 2MHz，500A
RP1010H | 10kV, 50MHz High Voltage Probe
RP1018H | 18kV 150MHz High Voltage Probe
RP1025D | 25MHz, 1.3kV
RP1050D | 50MHz, 6.5kV
RP1100D | 100MHz, 6.5kV
RP1300H | 300MHz High Voltage Probe(2KV)
RP3500A | 500MHz Passive High impedance Probe
RP5600A | 600MHz Passive High impedance Probe
RP6150A | 1.5GHz Passive Low impedance Probe(500Ohm)
RP7080 | 800MHz Active Differential Probe
RP7080S | 800MHz Single-Ended Active Probe
RP7150 | 1.5GHz Active Differential Probe
RP7150S | 1.5GHz Single-Ended Active Probe
RPA246 | Power analysis phase difference calibration fixture
RPL1116 | MSO1000Z Logic probe,16 channels
RPL2316 | MSO4000/2000A logic probe,16 channels
SA-DS1000Z | Series Bus Analysis Option
SD-AUTO-DS4000 | CAN and LIN bus decoding option
SD-CAN-DS6000 | CAN Decoding Option
SD-DS2000 | RS232, I2C, SPI decoding option
SD-FlexRay-DS4000 | FlexRay Decoding Option
SD-FlexRay-DS6000 | FlexRay Decoding Option
SD-I2C/SPI-DS4000 | I2C Decoding Option
SD-I2C/SPI-DS6000 | I2C/SPI Decoding Option
SD-RS232-DS4000 | RS232 Decoding Option
SD-RS232-DS6000 | RS232/UART Decoding Option
SKT7150 | Differential socketed probe head kit
T2R1000 | Tektronix Probe to RIGOL adapter
TK-DS1000D | DS1000D Training Kit
TL1150 | LA Testing leads
UltraLab | Customized software for integration project
UPA-DS | Ultra Power Analyzer software
Arb16M-DG1000Z | 16Mpts Memory Depth option
CB-SMB-BNC-FF-100 | SMB(F) to BNC(F) cable, 100cm
CB-SMB-BNC-FM-100 | SMB(F) to BNC(M) cable, 100cm
CB-SMB-SMB-FF-100 | SMB(F) to SMB(F) cable, 100cm
DG800-ARB8M | Memory Depth Upgrade Option
DG800-DCH | Single-dual CH Upgrade Option
DG-POD-A | Digital Logic Output Module
FH-DG5000 | Frequency Hopping Option
PA1011 | 10W Power Amplifier
RA5040K | 40dB Attenuator
RM-1-DG1000Z | 1 unit Rack Mount Kit
RM-2-DG1000Z | 2 units Rack Mount Kit
RM-DG | Rack Mount Kit
RM-DG4000 | Rack Mount Kit
RM-DG5000 | Rack Mount Kit
Ultra Station-adv | Ultra Station Advanced Function Option
USB-LAN | USB2.0 to 100Mbps Ethernet Adapter
AMK-DSA800 | Advanced Measurement Module
BAG-DSA1000 | Soft Carring Bag
CK106A | VNA calibration kit，DC~6.5GHz
CK106E | VNA calibration kit，DC~1.5GHz
CK209A | VNA calibration kit, DC-9GHz, SMA interface (male and female)
CK209B | VNA calibration kit, DC-9GHz, SMA interface (male)
CK209C | VNA calibration kit, DC-9GHz, SMA interface (female)
DSA Utility Kit | Include: N-SMA Cable, BNC-BNC Cable, N-BNC Adapter, N-SMA Adapter, 75 Ω to 50 Ω Adapter, 900 MHz/1.8 GHz Antenna (2pcs), 2.4 GHz Antenna (2pcs)
EMI-DSA800 | EMI Filter &gt; Quasi-Peak Detector
NFP-3 | Near Field Probe,Frequency range: 30 MHz - 3 GHz.
OCXO-C08 | High Stability Clock
PA-DSA1030 | Preamplifier
RM6041 | Rack Mount Kit
RM-DSA800 | Rack Mount Kit
RSA3000-AMK | Advanced Measurement Kit
RSA3000-B25 | Realtime Analysis Bandwidth 25MHz
RSA3000-B40 | Realtime Analysis Bandwidth 40MHz
RSA3000-BW1 | RBW for 1Hz to 10MHz
RSA3000E-AMK | Advanced Measurement Kit (for RSA3000E)
RSA3000E-ASK/FSK | ASK/FSK demodulation option (for RSA3000E)
RSA3000E-EMC | EMC filter and QP detector kit (for RSA3000E)
RSA3000E-EMI | EMI pre-compliance test mode (for RSA3000E)
RSA3000-EMC | EMI Filter and Detector
RSA3000-EMI | EMI Measurement Application
RSA3000E-PA | RSA3000E preamplifier
RSA3000-PA | Pre-amplifier
RSA5000-AMK | Advanced Measurement Kit
RSA5000-B40 | Realtime Analysis Bandwidth
RSA5000-EMI | EMI Measurement Application
RSA5000-PA | Pre-amplifier
RSA5000-VSA | Vector Signal Analysis Measurement Application
RX1000 | RF Demo Kit (Receiver)
S1210 | EMI Pre-compliance Software，Accessory for DSA
S1220 | ASK/FSK Demodulation analysis software
SSC-DSA | Signal Seamless Capture function
TX1000 | RF Demo Kit (Transmitter)
Ultra Spectrum | DSA PC Software
VB1032 | VSWR Bridge， 1MHz to 3.2 GHz，Directivity &gt;= 30dB(Typ.)
VB1040 | VSWR Bridge， 800MHz to 4 GHz
VB1080 | VSWR Bridge， 2GHz to 8 GHz
VSWR-DSA800 | VSWR Measure Package
DSG3000B-PUG | DSG3000B Multi-pulse modulation and pulse generator options
DSG800-PUG | Pulse Modulation and pulse generator
DSG800-PUM | Pulse Modulation
OCXO-A08 | High Stable OXCO Reference Clock
OCXO-B08 | High Stable Reference Clock
PMC-DSG3000 | Power Meter Controller
PUG-DSG3000 | Pulse Train Generator
RM-DSG3000 | Rack Mount Kit
ALLIGATORCLIP‐DMM | Alligator Clip
KELVINTESTCLIP‐DMM | Kelvin Test Clip
LD-DM | DMM Test Lead
RM-DM3000 | Rack Mount Kit
Ultraview | DMM PC Software
DEMOKIT-M300 | DEMOKIT FOR M300
M3A2B | Analog Bus to Banana port for M300
M3GPIB | GPIB Reverse Entry for M300
M3TB16 | Terminal Box for MC3416
M3TB20 | Terminal Box for MC3120
M3TB24 | Terminal Box for MC3324
M3TB32 | Terminal Box for MC3132
M3TB32T | Terminal Box for MC3132(Dedicated to temperature test)
M3TB34 | Terminal Box for MC3534
M3TB48 | Terminal Box for MC3648
M3TB64 | Terminal Box for MC3164
MC3065 | DMM Module
MC3120 | 20-Channel Multiplexer
MC3132 | 32-Channel Multiplexer
MC3164 | 64-Channel Single-Ended Multiplexer
MC3324 | 24-Channel Multiplexer
MC3416 | 16-Channel Actuator
MC3534 | Multifunction module
MC3648 | 4x8 Matrix Switch
RM-1-M300 | 1 unit Rack Mount Kit
RM-2-M300 | 2 units Rack Mount Kit
Ultra Acquire Pro | Full Function PC Software
AFK-DP800 | On line monitoring and analysis
CB-DB9-DB9-F-F-150 | RS232 Cable, Female to Female, 150cm
DIGITALIO-DP800 | 4 Lines Trigger In&Out
HIRES-DP700 | 1mV/1mA resolution option
HIRES-DP800 | 1mV&1mA resolution option
INTERFACE-DP800 | RS232 and LAN interface
RM-1-DP700 | Rack Mount Kit for one unit
RM-1-DP800 | Rack Mount Kit
RM-2-DP700 | Rack Mount Kit for two units
RM-2-DP800 | Rack Mount Kit
RM-3-DP700 | Rack Mount Kit for three units
SPB-DP800 | Black Safty Plug for DP800
SPR-DP800 | Red Safty Plug for DP800
TIMER-DP700 | Options for Timer
TRIGGER-DP700 | External trigger in and Internal trigger out
CB-20A-780MM | 20A Red and Black Test Lead
CB-40A-780MM | 40A Red and Black Test Lead
CB-60A-780MM | 60A Red and Black Test Lead
CB-RS232-A | 9-Pin RS232 Cable (female-to-female, cross-over)
CB-SENSE | Sense Cable
DIGITALIO-DL3 | Digital I/O Option
DL-02 | Terminal Shield
FREQ-DL3 | High Frequency Option
HIRES-DL3 | Readback Resolution Option
LAN-DL3 | LAN Interface Option
SLEWRATE-DL3 | High Slew Rate Option
USB-GPIB-L | USB to GPIB module
ARM | ARM
ATT03301H | 30dB High Power Attenuator, Max Power 100W
BAG-G1 | General Bag(DSA800/DG4000/DS2000)
CB-BNC-BNC-MM-100 | BNC Cable, 100cm
CB-NM-NM-75-L-12G | N(M)-N(M) RF Cable
CB-NM-SMAM-75-L-12G | N(M)-SMA(M) RF Cable
CB-USBA-USBB-FF-150 | USB Cable, 150cm
RF Adaptor Kit | Include: N(F)-N(F) Adaptor (1pcs), N(M)-N(M) Adaptor (1pcs), N(M)-SMA(F) Adaptor (2pcs), N(M)-BNC(F) Adaptor (2pcs), SMA(F)-SMA(F) Adaptor (1pcs), SMA(M)-SMA(M) Adaptor (1pcs), BNC T Type Adaptor (1pcs), 50 Ω SMA Load (1pcs), 50 Ω BNC Impedance Adapter (1pcs)
RF Attenuator Kit | Include: 6dB Attenuator (1pcs), 10dB Attenuator (2pcs)
RF CATV Kit | Include: 50 Ω to 75 Ω Adaptor (2pcs)
USB-GPIB | USB-GPIB